| Issue Date | 26/Apr/2017 |  |
| --- | --- | --- |
| Device(s) | P176A | Bed movement monitor |
| Accessories | P168 P137 P117C P155B | Domestic Pager Professional Pager Radio linked Autodialler NurseCall receiver interface |
| Description | The P176A Detects bed movement and sends a failsafe alarm by radio if this exceeds a preset value for longer than a preset time. |
| Directives | 93/42/EEC 2014/53/EU 2011/65/EU 2012/19/EU | Medical Device Directive (MDD) Radio Equipment Directive (RED) Permitted Materials (RoHS2) Waste Electrical and Electronic Equipment Directive (WEEE) |
| Classification | Medical Device: Class 1 |
| QMS | ISO 13485 | Medical Devices Quality System |
| Standards Applied | EN 14971:2012 EN 60601-1:2006+A12:2014 EN 60601-1-2:2015 EN 60601-1-8:2010+A1:2015 EN 62366-1:2015 EN 55011:2016 EN 12182:2012 EN 300-220-2 V2.4.1 (2012-05) ISO 22196:2011 | Risk Assessment Medical Device General Requirements Medical Device EMC Medical Device Alarm Systems Medical Devices applications of usability ISM Radio Disturbance Limits Technical Aids for Disabled Persons Permitted radio transmission: Short Range Devices Anti-microbial treatment |

# Text boxes

EC Declaration of Conformity

Manufacturer:

iTs Designs Ltd

(T/A Alert-iT Care Alarms)

#### Atherstone House,

Merry Lees Industrial Estate,

Desford, Leicestershire,

LE9 9FE, England.

Declaration:

We certify that the apparatus to which this declaration relates, conforms with the relevant requirements set out in the above referenced EC Directive(s) and standards, for which we have sole responsibility.

Signatory:

D Godfrey BSc(Hons) FIEE Ceng

Managing Director